## Cagayan River, Echague
ISABELA PROVINCE
CAGAYAN RIVER, ECHAGUE
LOCATION : |  | Latitude |  |  | Longitude |  |  |  |  | EXTREMES : | Maximum discharge during year, |  |  |  | 20563333 | liters/sec,
|  | At the sitio Baquero, barrio Gucab, about 700 m. south of the municipal building of Echague. | [8 empty] | October 18, 1918 |  |  | gage height, | none | m
[11 empty] | Minimum discharge, |  |  |  | 29200 | liters/sec,
[11 empty] | April 18 & 19, 1922 |  |  | gage height, | none | m
DRAINAGE AREA : |  | 6818 | sq. km. | [6 empty] | DIVERSIONS: | none
RECORDS AVAILABLE : |  | From April 16, 1918 to April 30, 1922. | [7 empty] | REGULATION: | none
GAGE : |  | Standard metric gage boards of three sections, fastened vertically to 3-inch diameter post | [7 empty] | UTILIZATION: | For irrigation purposes.
by means of iron bolts.
[10 empty] | ACCURACY: | Daily discharge from April 16, 1918 to January 9, 1921 determined from fairly well-defined curves and those for later dates
DISCHARGE MEASUREMENTS: |  | Made by floats in 1918-1919 and since June 20, 1920 measurement made by current meter from boat. | [8 empty] | from well-defined curve. Gage read twice daily.
CHANNEL AND BANKS: |  | Channel only one at all stages; straight for about 70 m. above and 300 m. below the gaging section.
Banks are high but subject to overflow at extremely high water; planted with tobacco. Stream bed of
sand and gravel and is very shifting especially at high water stage.
Discharge measurements of Cagayan River, near Baquoro, Echague, Isabela
|  |  | DATE | MADE BY: |  | GAGE h.(m) | DISCHARGE (liters/second) |  | DATE | MADE BY: | GAGE h.(m) | DISCHARGE (liters/second)
|  |  | 1918 | [5 empty] | 1921
|  |  | 2009-06-01 | District Engineer |  | 0.65 | 201740 |  | 2028-05-01 | do | 0.28 | 41147
|  |  | 2018-09-01 | do |  | 0.86 | 228500 |  | 2029-06-01 | do | 0.48 | 95146
|  |  | 1931-10-01 | do |  | 0.95 | 286500 |  | 2008-08-01 | do | 0.37 | 56623
|  |  | 2012-12-01 | do |  | 0.51 | 82100 |  | 2024-09-01 | do | 1.47 | 246439
|  |  | 1919 | [5 empty] | 2028-09-01 | do | 1.13 | 193853
|  |  | 2005-09-01 | do |  | 1.66 | 1271950 |  | 2027-10-01 | do | 0.72 | 104340
|  |  | 1920 | [5 empty] | 2028-10-01 | do | 0.66 | 93341
|  |  | 2011-09-01 | V. Villanueva |  | 0.75 | 78992 |  | 2014-12-01 | do | 1.46 | 262965
|  |  | 2016-10-01 | do |  | 1.2 | 234679 |  | 2015-12-01 | do | 1.44 | 251605
|  |  | 2004-12-01 | do |  | 1.02 | 188522 |  | 1922
|  |  | 1921 | [5 empty] | 2020-01-01 | do | 0.76 | 117290
|  |  | 2025-02-01 | do |  | 1.2 | 213551 |  | 2029-01-01 | do | 0.74 | 116202
|  |  | 2016-03-01 | do |  | 1.88 | 359430 |  | 2018-03-01 | V. Villanueva & H. Robles | 0.25 | 45890
|  |  | 2026-04-01 | do |  | 0.33 | 49168 |  | 2005-04-01 | do | 0.26 | 46980
|  |  | 2007-05-01 | do |  | 0.34 | 52944
[7 empty] | 1918 |  |  | MEAN DISCHARGE (liters/sec)
DAY | JAN | FEB | MAR |  | APR |  | MAY | JUN |  | JUL | AUG |  | SEPT | OCT | NOV | DEC
1 | [6 empty] | 88000 | 76000 |  | 854000 | 633667 |  |  | 314000 |  | 145333
2 | [6 empty] | 85333 | 60000 |  | 516333 | 608000 |  |  | 685000 |  | 116000
3 | [6 empty] | 82667 | 56000 |  | 178000 | 584667 |  |  | 1700667 | 738333 | 109333
4 | [6 empty] | 82667 | 54667 |  | 129333 | 414000 |  |  | 433000 | 659333 | 109333
5 | [6 empty] | 90667 | 54000 |  | 173333 | 217333 |  |  | 494667 | 584667 | 102667
6 | [6 empty] | 85333 | 53333 |  | 249000 | 159333 |  |  | 516333 | 527167 | 96000
7 | [6 empty] | 82667 | 54667 |  | 2770000 | 116000 |  |  | 344667 | 473000 | 96000
8 | [6 empty] | 82667 | 60000 |  | 2396667 | 99333 |  | 2396667 | 433000 | 442500 | 90667
9 | [6 empty] | 82667 | 96000 |  | 685000 | 90667 |  | 916667 | 573000 | 414000 | 85333
10 | [6 empty] | 82667 | 88000 |  | 516333 | 96000 |  | 794667 | 494667 | 573000 | 85333
11 | [6 empty] | 82667 | 64000 |  | 396000 | 255333 |  | 738333 | 396000 | 329333 | 82667
12 | [6 empty] | 82667 | 58667 |  | 1934000 | 461500 |  | 561333 | 314000 | 314000 | 82667
13 | [6 empty] | 82667 | 55333 |  | 2980000 | 561333 |  | 396000 | 268000 | 255333 | 80000
14 | [6 empty] | 70000 | 54667 |  | 2840000 | 1445000 |  | 314000 | 249000 | 217333 | 80000
15 | [6 empty] | 70000 | 57333 |  | 1817333 | 1724000 |  | 2513333 | 344667 | 173333
16 |  |  |  |  | 112667 |  | 70000 |  |  | 1018667 | 1018667 |  | 2050667 | 5570000 | 155333
17 |  |  |  |  | 109333 |  | 61333 |  |  | 839165 | 751667 |  | 1630667 | 18706667 | 132667
18 |  |  |  |  | 99333 |  | 59333 |  |  | 620833 | 824333 |  | 1196000 | 20563333 | 150000
19 |  |  |  |  | 96000 |  | 57333 |  |  | 608000 | 809500 |  | 1218000 |  | 129333
20 |  |  |  |  | 90667 |  | 56667 |  |  | 494667 | 948000 |  | 4240000 |  | 112667
21 |  |  |  |  | 90667 |  | 55333 |  |  | 396000 | 1218000 |  | 3236667 |  | 102667
22 |  |  |  |  | 85333 |  | 54667 |  |  | 298667 | 948000 |  |  |  | 90667
23 |  |  |  |  | 90667 |  | 54667 |  |  | 1910667 | 869667 |  |  |  | 80000
24 |  |  |  |  | 109333 |  | 56667 |  |  | 1724000 | 1036333 |  |  |  | 80000
25 |  |  |  |  | 109333 |  | 106000 |  |  | 916667 | 809500 |  |  |  | 80000
26 |  |  |  |  | 122667 |  | 65333 |  |  | 765000 | 608000 |  |  |  | 80000
27 |  |  |  |  | 164000 |  | 57333 |  |  | 711667 | 948000 |  |  |  | 314000
28 |  |  |  |  | 129333 |  | 54667 |  |  | 779833 | 854000 |  | 738333 |  | 268000
29 |  |  |  |  | 112667 |  | 54667 |  |  | 765000 | 738333 |  | 685000 |  | 217333
30 |  |  |  |  | 106000 |  | 62667 | 765000 |  | 1329167 | 633667 |  | 561333 |  | 182667
31 | [6 empty] | 90667 |  |  | 1018667 | 608000
Maximum |  |  |  |  | 164000 |  | 106000 | 765000 |  | 2980000 | 1724000 |  | 4240000 | 20563333 | 738333 | 145333
Minimum |  |  |  |  | 85333 |  | 54667 | 53333 |  | 129333 | 90667 |  | 314000 | 249000 | 80000 | 80000
Mean |  |  |  |  | 108533 |  | 72602 | 106729 |  | 1052645 | 680317 |  | 1422804 | 2911148 | 281310 | 97238
Note: | No record on days for which discharges are not given.
[7 empty] | 1919 |  |  | MEAN DISCHARGE (liters/sec)
DAY | JAN | FEB | MAR |  | APR |  | MAY | JUN |  | JUL | AUG |  | SEPT | OCT | NOV | DEC
1 | 3680000 | 132667 | 68000 |  | 50000 |  | 51333 | 65333 |  | 68000 | 68000 |  | 1114000 | 204667 | 751667 | 4660000
2 | 3353333 | 129333 | 68000 |  | 49333 |  | 50667 | 62667 |  | 72000 | 72000 |  | 1054000 | 164000 | 948000 | 4426667
3 | 901000 | 126000 |  |  | 54667 |  | 45333 | 60000 |  | 1001000 | 1001000 |  | 948000 | 129333 | 901000 | 2746667
4 | 824333 | 132667 |  |  | 56000 |  | 44667 | 59333 |  | 916667 | 916667 |  | 869667 | 122667 | 672333 | 2233333
5 | 3166667 | 119333 | 62667 |  | 53333 |  | 44667 | 78000 |  | 396000 | 396000 |  | 1218000 | 116000 | 633667 | 2513333
6 | 5616667 | 116000 | 62667 |  | 62667 |  | 44000 | 72000 |  | 329333 | 329333 |  | 765000 | 122667 | 461500 | 4893333
7 | 3050000 | 112667 | 66667 |  | 85333 |  | 43333 | 65333 |  | 136000 | 136000 |  | 329333 | 116000 | 378000 | 4543333
8 | 2120667 | 109333 | 59333 |  | 88000 |  | 43333 | 54667 |  | 122667 | 122667 |  | 738333 | 155333 | 314000 | 2840000
9 | 1607333 | 109333 | 59333 |  | 80000 |  | 42667 | 54667 |  | 112667 | 116000 |  | 608000 | 369000 | 473000 | 2560000
10 | 916667 | 109333 | 58667 |  | 80000 |  | 42667 | 59333 |  | 217333 | 217333 |  | 369000 | 885333 | 452000 | 2513333
11 | 869667 | 109333 | 58000 |  | 76000 |  | 42000 | 2700000 |  | 369000 | 369000 |  | 423500 | 738333 | 423500 | 1864000
12 | 698333 | 106000 | 57333 |  | 76000 |  | 42000 | 3126667 |  | 223667 | 230000 |  | 344667 | 983333 | 360000 | 948000
13 | 633667 | 102667 | 56667 |  | 72000 |  | 42667 | 824333 |  | 140667 | 140667 |  | 306333 | 794667 | 344667 | 916667
14 | 561333 | 99333 | 56000 |  | 72000 |  | 43333 | 671333 |  | 116000 | 109333 |  | 253333 | 885333 | 494667 | 948000
15 | 596333 | 96000 | 55333 |  | 68000 |  | 44000 | 329333 |  | 109333 | 102667 |  | 1196000 | 779833 | 794667 | 1094000
16 | 561333 | 93333 | 54667 |  | 68000 |  | 72000 | 242667 |  | 102667 | 96000 |  | 948000 | 1018667 | 809500 | 1001000
17 | 561333 | 90667 | 54667 |  | 65333 |  | 74000 | 211000 |  | 96000 | 102667 |  | 698333 | 1134000 | 824333 | 965667
18 | 549667 | 90667 | 54667 |  | 64000 |  | 76000 | 192000 |  | 96000 | 85333 |  | 698333 | 1375500 | 608000 | 948000
19 | 527167 | 88000 | 54667 |  | 62667 |  | 76000 | 145333 |  | 90667 | 90667 |  | 473000 | 1445000 | 824333 | 983333
20 | 516333 | 85333 | 54667 |  | 61333 |  | 78000 | 129333 |  | 109333 | 109333 |  | 405000 | 3446667 | 932333 | 948000
21 | 483833 | 82667 | 54667 |  | 60000 |  | 65333 | 122667 |  | 116000 | 116000 |  | 378000 | 3400000 | 901000 | 1817333
22 | 473000 | 80000 | 54667 |  | 56667 |  | 65333 | 116000 |  | 155333 | 155333 |  | 932333 | 3376667 | 824333 | 2606667
23 | 461500 | 80000 | 54667 |  | 56000 |  | 66667 | 109333 |  | 129333 | 129333 |  | 983333 | 1134000 | 1375500 | 2933333
24 | 452000 | 80000 | 54000 |  | 55333 |  | 66667 | 106000 |  | 119333 | 116000 |  | 751667 | 948000 | 916667 | 2443333
25 | 329333 | 80000 | 53333 |  | 54667 |  | 68000 | 96000 |  | 352333 | 360000 |  | 452000 | 854000 | 824333 | 2210000
26 | 298667 | 80000 | 52667 |  | 54000 |  | 72000 | 72000 |  | 2116667 | 2116667 |  | 396000 | 854000 | 824333 | 2163333
27 | 291000 | 72000 | 52000 |  | 53333 |  | 173333 | 70000 |  | 70000 | 1677333 |  | 337000 | 824333 | 916667 | 2326667
28 | 211000 | 70000 | 51333 |  | 52667 |  | 90667 | 68000 |  | 65333 | 854000 |  | 314000 | 885333 | 3703333 | 2210000
29 | 198333 |  | 50667 |  | 52000 |  | 102667 | 76000 |  | 76000 | 685000 |  | 217333 | 885333 | 4613333 | 2280000
30 | 192000 |  | 50000 |  | 51333 |  | 102667 | 68000 |  | 72000 | 608000 |  | 192000 | 738333 | 3492333 | 2490000
31 | 145333 |  | 50000 |  |  |  | 68000 |  |  |  | 494667 |  |  | 933333 |  | 2325667
Maximum | 5616667 | 132667 | 68000 |  | 88000 |  | 173333 | 3126667 |  | 2116667 | 2116667 |  | 1218000 | 3446667 | 4613333 | 4893333
Minimum | 145333 | 70000 | 50000 |  | 49333 |  | 42000 | 54667 |  | 65333 | 68000 |  | 192000 | 116000 | 314000 | 916667
Mean | 1124124 | 99381 | 56552 |  | 63022 |  | 64000 | 336911 |  | 269911 | 391064 |  | 623850 | 961892 | 1026467 | 2269483
Note: | Daily discharge from April 16, 1918 to July 19, 1920 determined from a fairly well-defined curve from 80,000 to 1,270,000 liters/second.
[7 empty] | 1920 |  |  | MEAN DISCHARGE (liters/sec)
DAY | JAN | FEB | MAR |  | APR |  | MAY | JUN |  | JUL | AUG |  | SEPT | OCT | NOV | DEC
1 | 1263000 | 145333 | 164000 |  | 66667 |  | 58667 | 90667 |  | 62667 | 296000 |  | 296000 | 256400 | 81000 | 239600
2 | 433000 | 136000 | 116000 |  | 68000 |  | 58667 | 153333 |  | 58667 | 256400 |  | 276000 | 188800 | 63400 | 218400
3 | 329333 | 132667 | 109333 |  | 70000 |  | 57333 | 173333 |  | 99333 | 221000 |  | 242400 | 196000 | 57000 | 203200
4 | 2004000 | 126000 | 106000 |  | 70000 |  | 58667 | 164000 |  | 78000 | 188800 |  | 208000 | 234000 | 296000 | 176800
5 | 2350000 | 119333 | 96000 |  | 68000 |  | 58667 | 155333 |  | 68000 | 165400 |  | 165400 | 389800 | 970400
6 | 2536667 | 116000 | 85333 |  | 68000 |  | 57333 | 178000 |  | 65333 | 156600 |  | 156600 | 344600 | 693000
7 | 2933333 | 109333 | 80000 |  | 68000 |  | 57333 | 173333 |  | 64000 | 143400 |  | 132400 | 357400 | 501400
8 | 2700000 | 102667 | 76000 |  | 72000 |  | 56667 | 164000 |  | 62667 | 134600 |  | 256400 | 357400 | 383000
9 | 3306667 | 102667 | 72000 |  | 1352333 |  | 56000 | 192000 |  | 60000 | 128000 |  | 172000 | 317000 | 302000
10 | 3306667 | 116000 | 68000 |  | 268000 |  | 82667 | 164000 |  | 60000 | 118000 |  | 126000 | 284400 | 284400 | 829800
11 | 2980000 | 145333 | 72000 |  | 182667 |  | 119333 | 150000 |  | 60000 | 106200 |  | 130200 | 278800 | 259200 | 674000
12 | 2396667 | 132667 | 76000 |  | 122667 |  | 122667 | 182667 |  | 242667 | 93600 |  | 130200 | 270400 | 267600 | 586600
13 | 2140000 | 90667 | 76000 |  | 90667 |  | 155333 | 198333 |  | 329333 | 88200 |  | 128000 | 231400 | 712000 | 738600
14 | 2233333 | 88000 | 72000 |  | 78000 |  | 140667 | 230000 |  | 268000 | 262000 |  | 99000 | 184000 | 769000 | 1016000
15 | 2140000 | 85333 | 70000 |  | 72000 |  | 136000 | 268000 |  | 698333 | 228800 |  | 88200 | 223600 | 560000 | 871600
16 | 1700667 | 80000 | 72000 |  | 70000 |  | 155333 | 283333 |  |  | 218400 |  | 86400 | 256400 | 807000 | 997000
17 | 824333 | 76000 | 76000 |  | 68000 |  | 155333 | 255333 |  |  | 208000 |  | 81000 | 317000 | 628400
18 | 2120667 | 74000 | 72000 |  | 68000 |  | 217333 | 204667 |  |  | 203200 |  | 73000 | 308000 | 389800
19 | 2097333 | 68000 | 70000 |  | 66667 |  | 291000 | 136000 |  | 298667 | 196000 |  | 66600 | 273200 | 296000 | 978000
20 | 2004000 | 66667 | 72000 |  | 65333 |  | 268000 | 90667 |  | 902000 | 196000 |  | 63400 | 256400 | 245200 | 879200
21 | 1887333 | 62667 | 72000 |  | 65333 |  | 236333 | 68000 |  | 936200 | 188800 |  | 55400 | 239600 | 228800 | 742400
22 | 1724000 | 62667 | 80000 |  | 62667 |  | 211000 | 68000 |  | 856400 |  |  | 50600 | 208000 | 188800 | 658800
23 | 1262000 | 65333 | 85333 |  | 60000 |  | 192000 | 70000 |  | 1016000 |  |  | 44200 | 188800 | 165400 | 590400
24 | 916667 | 65333 | 80000 |  | 60000 |  | 164000 | 145333 |  | 750000 |  |  | 39400 | 147800 | 152200 | 302000
25 | 983333 | 116000 | 80000 |  | 58667 |  | 261667 | 150000 |  | 515800 |  |  | 351000 | 124000 | 239600 | 308000
26 | 948000 | 329333 | 76000 |  | 58667 |  | 223667 | 164000 |  | 494200 |  |  | 807000 | 114000 | 250800 | 284400
27 | 917667 | 608000 | 70000 |  | 57333 |  | 211000 | 129333 |  | 472600 |  |  | 719600 | 102600 | 234000 | 267600
28 | 869667 | 659333 | 68000 |  | 56667 |  | 211000 | 85333 |  | 444200 |  |  | 494200 | 102600 | 228800 | 250800
29 | 473000 | 268000 | 65333 |  | 56000 |  | 192000 | 65333 |  | 510200 | 213200 |  | 383000 | 106200 | 218400 | 234000
30 | 164000 |  | 65333 |  | 57333 |  | 155333 | 62667 |  | 370200 | 179200 |  | 314000 | 100800 | 314000 | 226200
31 | 145333 |  | 65333 |  |  |  | 136000 |  |  | 326000 | 169800 |  |  | 90000 |  | 215800
Maximum | 3306667 | 659333 | 164000 |  | 1352333 |  | 291000 | 283333 |  | 1016000 | 296000 |  | 807000 | 389800 | 970400 | 1016000
Minimum | 145333 | 62667 | 65333 |  | 56000 |  | 56000 | 62667 |  | 58667 | 88200 |  | 39400 | 90000 | 57000 | 176800
Mean | 1680279 | 149997 | 80903 |  | 121589 |  | 147000 | 153899 |  | 359623 | 181650 |  | 207853 | 227400 | 359553 | 419568
Note: | Daily discharge from July 19 to December 31, 1920 determined from a curve defined by two points only and hence values are roughly estimated.
[7 empty] | 1921 |  |  | MEAN DISCHARGE (liters/sec)
DAY | JAN | FEB | MAR |  | APR |  | MAY | JUN |  | JUL | AUG |  | SEPT | OCT | NOV | DEC
1 | 207400 | 243280 | 177700 |  | 72480 |  | 44800 | 43240 |  |  | 77400 |  | 340400 | 152480 | 115800 | 423480
2 | 198400 | 243280 | 164120 |  | 72480 |  | 44800 | 44800 |  |  | 67560 |  | 539400 | 156360 | 112200 | 463800
3 | 223600 | 376000 | 158300 |  | 70840 |  | 44800 | 64280 |  | 51200 | 67560 |  | 326400 | 175760 | 105160 | 534360
4 | 296000 | 463800 | 152480 |  | 69200 |  | 44800 | 69360 |  | 54440 | 64280 |  | 321800 | 175760 | 156360 | 1144200
5 | 234000 | 400800 | 222000 |  | 69200 |  | 44800 | 44800 |  | 1169400 | 65920 |  | 179660 | 207700 | 276220 | 879600
6 | 203200 | 321800 | 735960 |  | 67560 |  | 44800 | 52800 |  | 532480 | 61000 |  | 171880 | 253820 | 230440 | 524280
7 | 188800 | 267300 | 481440 |  | 67560 |  | 44800 | 101660 |  | 378480 | 56080 |  | 169940 | 343120 | 199650 | 436080
8 | 169800 | 256300 | 524280 |  | 65920 |  | 44800 | 123000 |  | 290980 | 56080 |  | 191540 | 331040 | 234720 | 385920
9 | 136800 | 271700 | 625080 |  | 65920 |  | 44800 | 94700 |  | 199620 | 56080 |  | 185540 | 340400 | 1144200 | 359280
10 | 141080 | 254100 | 577200 |  | 64280 |  | 44800 | 86000 |  | 179660 | 54440 |  | 179660 | 326400 | 1144200 | 359280
11 | 166060 | 232580 | 283000 |  | 64280 |  | 44800 | 65920 |  | 169940 | 67560 |  | 171880 | 340400 | 1144200 | 321800
12 | 156360 | 211740 | 217800 |  | 64280 |  | 44800 | 70840 |  | 141080 | 62640 |  | 177700 | 340400 | 1144200 | 296560
13 | 126600 | 195580 | 260700 |  | 62640 |  | 44800 | 123000 |  | 123000 | 62640 |  | 168000 | 289780 | 1144200 | 280740
14 | 119400 | 185540 | 331040 |  | 62640 |  | 37000 | 108680 |  | 114000 | 73120 |  | 126600 | 245420 | 589800 | 265100
15 | 137400 | 232580 | 356920 |  | 61000 |  | 37000 | 91220 |  | 101660 | 64280 |  | 126600 | 241140 | 1144200 | 258500
16 | 236860 | 207700 | 359280 |  | 61000 |  | 37000 | 640200 |  | 92960 | 62640 |  | 164220 | 211800 | 1144200 | 243280
17 | 173820 | 179660 | 312680 |  | 61000 |  | 37000 | 317200 |  | 91220 | 117600 |  | 177700 | 187500 | 889680 | 211800
18 | 191540 | 152480 | 267300 |  | 61000 |  | 37000 | 152480 |  | 87740 | 156360 |  | 148600 | 171880 | 534360 | 195550
19 | 175760 | 141080 | 224100 |  | 59360 |  | 36440 | 117480 |  | 126600 | 187500 |  | 179660 | 156360 | 559560 | 181620
20 | 156360 | 116000 | 191540 |  | 57720 |  | 40120 | 98180 |  | 135600 | 141080 |  | 199620 | 146720 | 443640 | 173820
21 | 133800 | 340400 | 187500 |  | 57720 |  | 44800 | 91220 |  | 123000 | 141080 |  | 236860 | 137400 | 373600 | 164120
22 | 152480 | 267300 | 171880 |  | 56080 |  | 44800 | 84280 |  | 106920 | 119400 |  | 308160 | 128400 | 366400 | 156360
23 | 148600 |  | 152480 |  | 56080 |  | 33240 | 77400 |  | 96440 | 119400 |  | 271700 | 119400 | 559560 | 199650
24 | 191540 |  | 121200 |  | 54440 |  | 41680 | 61000 |  | 91220 | 164120 |  | 222000 | 115800 | 594840 | 239000
25 | 171880 | 207700 | 77400 |  | 52800 |  | 40120 | 54440 |  | 94700 | 138400 |  | 224100 | 108680 | 483960 | 280740
26 | 160240 | 207700 | 61000 |  | 51200 |  | 57720 | 48000 |  | 195580 | 112200 |  | 254100 | 110440 | 577200 | 308160
27 | 144840 | 205680 | 51200 |  | 51200 |  | 44800 | 52800 |  | 167060 | 114000 |  | 219900 | 112200 | 1144200 | 294300
28 | 124800 | 203660 | 49600 |  | 51200 |  | 41680 | 67560 |  | 154420 | 199620 |  | 195580 | 105160 | 1144200 | 271700
29 | 108680 |  | 46400 |  | 51200 |  | 40120 | 80840 |  | 123000 | 158300 |  | 166060 | 105160 | 574680 | 215900
30 | 138400 |  | 46400 |  | 49600 |  | 44800 | 51200 |  | 98180 | 199620 |  | 154420 | 98180 | 483960 | 175760
31 | 156360 |  | 43240 |  |  |  | 33240 |  |  | 84280 | 205680 |  |  | 94700 |  | 162180
Maximum | 296000 | 463800 | 735960 |  | 72480 |  | 57720 | 640200 |  | 1169400 | 205680 |  | 539400 | 343120 | 1144200 | 1144200
Minimum | 108680 | 116000 | 43240 |  | 49600 |  | 33240 | 43240 |  | 51200 | 54440 |  | 126600 | 94700 | 105160 | 156360
Mean | 170028 | 245605 | 246168 |  | 61061 |  | 43698 | 105619 |  | 185340 | 106246 |  | 216656 | 194450 | 625296 | 335707
Note: | Daily discharge determined from a well-defined curve, applicable from January 10, 1921 to April 30,1922. Record good below 275,000 liters/second.
[7 empty] | 1922 |  |  | MEAN DISCHARGE (liters/sec)
DAY | JAN | FEB | MAR |  | APR |  | MAY | JUN |  | JUL | AUG |  | SEPT | OCT | NOV | DEC
1 | 152480 | 106920 | 61000 |  | 61000
2 | 156360 | 99920 | 59360 |  | 51200
3 | 160240 | 94700 | 54440 |  | 44800
4 | 160240 | 92960 | 51200 |  | 51200
5 | 152480 | 162180 | 48000 |  | 41660
6 | 146720 | 211740 | 48000 |  | 38560
7 | 139200 | 169940 | 46400 |  | 35440
8 | 133800 | 137400 | 46400 |  | 32320
9 | 130200 | 115800 | 46400 |  | 32320
10 | 126600 | 105160 | 51200 |  | 32320
11 | 126600 | 98180 | 48000 |  | 32320
12 | 141080 | 91220 | 46400 |  | 32320
13 | 139200 | 87740 | 48000 |  | 32320
14 | 150540 | 84280 | 46400 |  | 32320
15 | 160240 | 79120 | 41660 |  | 32320
16 | 137400 | 72480 | 38560 |  | 30760
17 | 130200 | 69200 | 38560 |  | 32320
18 | 126600 | 67560 | 37000 |  | 29200
19 | 119400 | 67560 | 35440 |  | 29200
20 | 119400 | 65920 | 38560 |  | 48000
21 | 123000 | 64280 | 77400 |  | 32320
22 | 126600 | 62640 | 61000 |  | 32320
23 | 137400 | 61000 | 44800 |  | 41660
24 | 199620 | 59360 | 38560 |  | 37000
25 | 171880 | 57720 | 105160 |  | 30760
26 | 141080 | 54440 | 124800 |  | 30760
27 | 124800 | 52800 | 115800 |  | 38560
28 | 115800 | 54440 | 108680 |  | 64280
29 | 123000 |  | 98180 |  | 48000
30 | 126600 |  | 87740 |  | 33880
31 | 115800 |  | 74120
Maximum | 199620 | 211740 | 124800 |  | 64280
Minimum | 115800 | 52800 | 35440 |  | 29200
Mean | 139179 | 90952 | 60233 |  | 38040
Note: | See footnote to discharge table for 1921.