## Magat River, Santiago
ISABELA PROVINCE
MAGAT RIVER, SANTIAGO
LOCATION : |  | Latitude |  |  | Longitude |  |  |  |  | EXTREMES : |  | Maximum discharge during year, |  |  | 1202900 | liters/sec,
|  | About 300 m. west of sitio Cadanglaan in the barrio of Oscariz which is about 15 kms. | [9 empty] | November 14, 1921 |  | gage height, | none | m
|  | northern part of the municipality of Santiago. | [9 empty] | Minimum discharge, |  |  | 17700 | liters/sec,
[12 empty] | April 17, 1922 |  | gage height, | none | m
DRAINAGE AREA : |  | 4440 |  | sq. km. | [5 empty] | DIVERSIONS: |  | none
RECORDS AVAILABLE : |  | From October 19, 1920 to April 30, 1922. | [7 empty] | REGULATION: |  | none
GAGE : |  | Standard metric gage board reading from 0 to 3 m. nailed vertically to a post driven at right bank. | [7 empty] | UTILIZATION: |  | For irrigation purposes.
[10 empty] | ACCURACY: |  | Record form October 19 to December 10, 1920, poor; from December 11, 1920 to April 3, 1922, good.
DISCHARGE MEASUREMENTS: |  | Made from boat at section of gage. | [9 empty] | Gage read twice daily.
CHANNEL AND BANKS: |  | Channel only one at all stages; straight for over 100 m. above and below the station. Right bank
high, planted with tobacco and corn; left bank low, subject to overflow and grown with talahib.
Stream bed sandy and gravelly, and somewhat shifting.
Discharge measurements of Magat River, near Oscariz, Santiago, Isabela
|  |  | DATE | MADE BY: | GAGE h.(m) | DISCHARGE (liters/second) |  | DATE | MADE BY: |  | GAGE h.(m) | DISCHARGE (liters/second)
|  |  | 1920 |  |  |  |  | 1921
|  |  | 2006-09-01 | V. Villanueva | 1 | 126232 |  | 2024-10-01 | do |  | 0.66 | 124585
|  |  | 2019-10-01 | do | 0.78 | 151768 |  | 2025-10-01 | do |  | 0.64 | 118868
|  |  | 2011-12-01 | do | 1.1 | 360646 |  | 2012-12-01 | do |  | 0.84 | 189745
|  |  | 1921 |  |  |  |  | 2013-12-01 | do |  | 0.8 | 174264
|  |  | 2002-03-01 | do | 0.56 | 73268 |  | 1922
|  |  | 2024-04-01 | do | 0.42 | 43535 |  | 1931-01-01 | do |  | 0.4 | 59699
|  |  | 2026-05-01 | do | 0.78 | 142404 |  | 2010-03-01 | V.Villanueva & N.Robles |  | 0.32 | 59400
|  |  | 2027-05-01 | do | 0.74 | 132626 |  | 2011-03-01 | do |  | 0.3 | 45160
|  |  | 2005-08-01 | do | 0.64 | 113735 |  | 2002-04-01 | do |  | 0.34 | 39010
|  |  | 2006-08-01 | do | 0.62 | 99976
|  |  | 2020-09-01 | do | 1.42 | 429230
|  |  | 2020-09-01 | do | 1.36 | 293813
[7 empty] | 1920 |  |  | MEAN DISCHARGE (liters/sec)
DAY | JAN | FEB |  | MAR | APR |  | MAY | JUN |  | JUL |  | AUG | SEPT | OCT | NOV | DEC
1 | [14 empty] | 131000 | 106800
2 | [14 empty] | 125400 | 98800
3 | [14 empty] | 125400 | 93600
4 | [14 empty] | 119800 | 88400
5 | [14 empty] | 412600 | 83200
6 | [14 empty] | 412600 | 78000
7 | [14 empty] | 387400 | 61200
8 | [14 empty] | 324400 | 379000
9 | [14 empty] | 223000 | 370600
10 | [14 empty] | 190000 | 362200
11 | [14 empty] | 168000 | 302700
12 | [14 empty] | 153400 | 257700
13 | [14 empty] | 656200 | 223400
14 | [14 empty] | 614200 | 315200
15 | [14 empty] | 259000 | 277900
16 | [14 empty] | 243800 | 249900
17 | [14 empty] | 236600 | 483000
18 | [14 empty] | 251400 | 454200
19 | [13 empty] | 153400 | 262800 | 416600
20 | [13 empty] | 153400 | 240000 | 375700
21 | [13 empty] | 171000 | 216200 | 336600
22 | [13 empty] | 297000 | 209400 | 302700
23 | [13 empty] | 212800 | 202800 | 269700
24 | [13 empty] | 183600 | 196400 | 238400
25 | [13 empty] | 183600 | 183600 | 208900
26 | [13 empty] | 174000 | 177200 | 180500
27 | [13 empty] | 180400 | 171000 | 153800
28 | [13 empty] | 136600 | 153400 | 122900
29 | [13 empty] | 150600 | 136600 | 100200
30 | [13 empty] | 142200 | 119800 | 79000
31 | [13 empty] | 136600 |  | 73800
Maximum | [13 empty] | 297000 | 656200 | 483000
Minimum | [13 empty] | 136600 | 119800 | 61200
Mean | [13 empty] | 175015 | 243447 | 230471
Note: | Discharges from October 19 to December 10, 1920 determined from poorly-defined rating curve.
[7 empty] | 1921 |  |  | MEAN DISCHARGE (liters/sec)
DAY | JAN | FEB |  | MAR | APR |  | MAY | JUN |  | JUL |  | AUG | SEPT | OCT | NOV | DEC
1 | 78800 | 89500 |  | 117100 | 173600 |  | 62300 | 208900 |  | 135000 |  | 160200 | 562500 | 166800 | 111400 | 353800
2 | 69200 | 84200 |  | 122900 | 166800 |  | 62300 | 246000 |  | 122900 |  | 153800 | 751100 | 253800 | 105800 | 319400
3 | 62300 | 79000 |  | 117100 | 160200 |  | 62300 | 219700 |  | 103000 |  | 135000 | 483000 | 223400 | 100200 | 294300
4 | 55400 | 63800 |  | 111400 | 153800 |  | 62300 | 234600 |  | 198100 |  | 128900 | 336600 | 205300 | 108600 | 269700
5 | 50800 | 69200 |  | 105800 | 147400 |  | 100200 | 163500 |  | 421300 |  | 122900 | 473400 | 187500 | 111400 | 345200
6 | 46600 | 64600 |  | 100200 | 141200 |  | 94900 | 125900 |  | 430700 |  | 117100 | 502600 | 173600 | 105800 | 319400
7 | 42400 | 122900 |  | 286100 | 128900 |  | 114200 | 191000 |  | 261700 |  | 117100 | 532500 | 257700 | 122900 | 277900
8 | 122900 | 160200 |  | 223400 | 122900 |  | 238400 | 311000 |  | 216100 |  | 135000 | 522500 | 219700 | 111400 | 223400
9 | 117100 | 153800 |  | 230800 | 117100 |  | 170200 | 246000 |  | 194500 |  | 128900 | 483000 | 246000 | 976100 | 135000
10 | 111400 | 147400 |  | 223400 | 111400 |  | 117100 | 223400 |  | 180500 |  | 227100 | 421300 | 375700 | 552500 | 84200
11 | 105800 | 153800 |  | 216100 | 105800 |  | 153800 | 261700 |  | 166800 |  | 246000 | 345200 | 875300 | 497700 | 201700
12 | 100200 | 166800 |  | 208900 | 100200 |  | 141200 | 302700 |  | 153800 |  | 286100 | 302700 | 572700 | 645900 | 187500
13 | 94900 | 160200 |  | 201700 | 94900 |  | 111400 | 340900 |  | 147400 |  | 249900 | 269700 | 389100 | 234600 | 177000
14 | 86800 | 153800 |  | 194500 | 89500 |  | 89500 | 371300 |  | 135000 |  | 219700 | 238400 | 398500 | 1202900 | 166800
15 | 79000 | 147400 |  | 187500 | 84200 |  | 76400 | 380100 |  | 122900 |  | 187500 | 205300 | 261700 | 899900 | 163500
16 | 73800 | 141200 |  | 180500 | 79000 |  | 103000 | 416600 |  | 117100 |  | 160200 | 319400 | 238400 | 803500 | 160200
17 | 114200 | 135000 |  | 173600 | 73800 |  | 84200 | 311000 |  | 265700 |  | 194500 | 353800 | 216100 | 522500 | 157000
18 | 105800 | 128900 |  | 166800 | 69200 |  | 73800 | 201700 |  | 216100 |  | 184000 | 336600 | 194500 | 454200 | 153800
19 | 100200 | 122900 |  | 160200 | 64600 |  | 81600 | 166800 |  | 187500 |  | 173600 | 319400 | 180500 | 421300 | 147400
20 | 94900 | 117100 |  | 153800 | 64600 |  | 131900 | 208900 |  | 306800 |  | 170200 | 358100 | 166800 | 384600 | 141200
21 | 89500 | 105800 |  | 238400 | 79000 |  | 97600 | 173600 |  | 380100 |  | 160200 | 468600 | 160200 | 375700 | 128900
22 | 84200 | 100200 |  | 230800 | 71500 |  | 89500 | 216100 |  | 208900 |  | 201700 | 562500 | 147400 | 358100 | 122900
23 | 105800 | 94900 |  | 223400 | 69200 |  | 79000 | 208900 |  | 201700 |  | 640600 | 430700 | 141200 | 593300 | 117100
24 | 100200 | 89500 |  | 216100 | 64600 |  | 117100 | 219700 |  | 184000 |  | 532500 | 319400 | 128900 | 522500 | 111400
25 | 128900 | 84200 |  | 208900 | 64600 |  | 219700 | 208900 |  | 345200 |  | 349500 | 328000 | 120000 | 380100 | 135000
26 | 122900 | 79000 |  | 201700 | 64600 |  | 153800 | 184000 |  | 380100 |  | 261700 | 238400 | 108600 | 315200 | 141200
27 | 117100 | 73400 |  | 194500 | 64600 |  | 147400 | 157000 |  | 319400 |  | 492800 | 273800 | 128900 | 688900 | 180500
28 | 111400 | 69200 |  | 187500 | 69200 |  | 150600 | 208900 |  | 265700 |  | 416600 | 246000 | 128900 | 552500 | 160200
29 | 105800 |  |  | 180500 | 64600 |  | 311000 | 160200 |  | 216100 |  | 454200 | 216100 | 122900 | 398200 | 141200
30 | 100200 |  |  | 173600 | 64600 |  | 257700 | 141200 |  | 187500 |  | 756900 | 194500 | 111400 | 463700 | 128900
31 | 94900 |  |  | 166800 |  |  | 187500 |  |  | 166800 |  | 614100 |  | 100200 |  | 117100
Maximum | 128900 | 166800 |  | 286100 | 173600 |  | 311000 | 416600 |  | 430700 |  | 756900 | 751100 | 875300 | 1202900 | 353800
Minimum | 42400 | 64600 |  | 100200 | 64600 |  | 62300 | 125900 |  | 103000 |  | 117100 | 194500 | 100200 | 100200 | 84200
Mean | 92532 | 113139 |  | 184000 | 97520 |  | 127158 | 233673 |  | 223819 |  | 270276 | 379837 | 232313 | 437380 | 185897
Note: | Discharges from December 11, 1920 to April 30, 1922 determined from well-defined rating curve below 400,000 liters/second.
[7 empty] | 1922 |  |  | MEAN DISCHARGE (liters/sec)
DAY | JAN | FEB |  | MAR | APR |  | MAY | JUN |  | JUL |  | AUG | SEPT | OCT | NOV | DEC
1 | 117100 | 60000 |  | 57700 | 55400
2 | 100200 | 57700 |  | 53100 | 46600
3 | 120000 | 57700 |  | 48700 | 40300
4 | 117100 | 55400 |  | 46600 | 38200
5 | 114200 | 73800 |  | 42400 | 36300
6 | 111400 | 125900 |  | 38200 | 32500
7 | 100200 | 94900 |  | 38200 | 30600
8 | 97600 | 73800 |  | 36300 | 28700
9 | 97600 | 64600 |  | 38200 | 28700
10 | 94900 | 60000 |  | 42400 | 26800
11 | 89500 | 57700 |  | 38200 | 24900
12 | 105800 | 55400 |  | 36300 | 24900
13 | 105800 | 53100 |  | 38200 | 24900
14 | 100200 | 53100 |  | 36300 | 24900
15 | 111400 | 50800 |  | 34400 | 21100
16 | 100200 | 48700 |  | 32500 | 19200
17 | 94900 | 46600 |  | 32500 | 17700
18 | 92200 | 170200 |  | 30600 | 26800
19 | 89500 | 84200 |  | 30600 | 30600
20 | 84200 | 79000 |  | 40300 | 60000
21 | 79000 | 100200 |  | 76400 | 94900
22 | 76400 | 69200 |  | 66900 | 71500
23 | 76400 | 50800 |  | 46600 | 144300
24 | 84200 | 46600 |  | 42400 | 86800
25 | 79000 | 44500 |  | 64600 | 55400
26 | 73800 | 42400 |  | 84200 | 108600
27 | 71500 | 40300 |  | 103000 | 103000
28 | 69200 | 38200 |  | 100200 | 97600
29 | 71500 |  |  | 97600 | 89500
30 | 69200 |  |  | 81600 | 81600
31 | 60000 |  |  | 64600
Maximum | 120000 | 170200 |  | 103000 | 144300
Minimum | 60000 | 38200 |  | 30600 | 17700
Mean | 92071 | 66243 |  | 52252 | 52410
Note: | See footnote to discharge table for 1921.